Dear WTP ​community ​fellow members, ​

I am currently ​in the process ​of putting ​together a ​training manual ​for Water treatment entry ​level ​professionals. ​

Existing ​manuals cover a ​lot of ​information ​that can be ​overwhelming ​and may not ​pertain to ​specific plant ​layout, or are ​too technical ​that can be ​frustrating and ​confusing for ​entry level ​professionals. ​

My focus is to ​cover the ​basics of plant ​treatment ​operation, in a ​user-friendly ​way. This ​manual can also ​be used as a ​guide for ​studying for a ​certification ​exam or as a ​reference ​material. I ​would like to ​know from you ​all which ​topics I should ​be addressing ​in this manual. ​

Some of the ​topics I want ​to cover are: ​

- Operation of ​the water ​treatment ​

- The instrumentation ​and controls ​

- Chemistry that ​make the ​process work ​

- The regulations ​that utilities ​are required to ​follow ​

- Factors ​affecting the ​water quality ​

- Lab testing procedures

Please see below the expanded outline. If there is anything missing, questionable, or unclear, please let me know and I will explain the item in detail or add to my manual.

Your feedback ​will help me to ​create a ​training manual ​for Waste water ​treatment entry ​level ​professionals. ​

Thanks for your input!

Peter

**************************************************************************************

Water Treatment Plant Operation

- Introduction

- Source of contaminants

  - Source water picking up contaminants

- Goal of treating water

- Basic treatment process

- Intakes crib and structure, and wet wells

  - Submerged intake structures

  - Exposed intake structures

  - Wet intake structure

  - Dry intake structures

  - River intake structures

  - Reservoir intake structures

  - Lake intake structures

  - Canal intake structures

  - Other intake structures

- Screening incoming water

  - Introduction

  - Screen type

  - Maintenance of screening equipment

- Pre-sedimentation and other pretreatment processes

  - Types of pre-sedimentation processes

  - Operations and maintenance of pre-sedimentation system

  - Low lift pump well (centrifugal pump)

- Types of heads

  - Components of the low lift pump and their function

  - Operation of the low lift pump

  - Starting a low lift pump

  - Stopping a low lift pump

  - Common pump problems and their cases

  - Pump maintenance and safety

- Valves

  - Introduction

  - Types of valves

  - Surge chamber

- Motor and motor control

  - Motors

  - Motor Control

- Power Generation and Distribution

  - AC Power Generation

  - Importance, types, and operational concern with standby power

- Online instrumentation

  - Introduction

- Turbidity

  - Introduction

  - Definition

- Instrumentation/sensor(s) and theory of operation

  - Sensors

    - Temperature

    - Particle counters

    - Turbidity

    - PH

    - Conductivity

  - Field calibration

  - Typical Valves

  - Comparison of turbidity meters and particle counters

  - Field calibration

- Primary Disinfection- pre –Chlorination or Ozone

  - Pre-chlorination or Ozone

  - Forms of Chlorine and Methods of Delivery

  - Chlorine (pre-Chlorination)

  - Chlorine Gas and Delivering equipment

  - Safety

    - Proper safety procedures

    - Chlorine Safety precaution

    - Emergency assistance for Chlorine leaks

  - Calcium hypochlorite and delivering equipment

  - Sodium hypochlorite and delivering equipment

- Ozone

  - Principle behind the ozone generator

  - Properties of ozone

  - Ozone safety precaution

  - Sources of ozone leaks

  - Detecting leaks

  - Small/minor leaks

  - Major leaks

  - Presence of ozone in ambient air

  - Ozone contactor(s) and diffusers

  - Solubility of ozone in water

  - Reactions between dissolved ozone and remaining constituents

  - Dissolved ozone measurement

  - Contact time calculation

  - Removal of residual ozone off-gas

- Source water possibly contain trihalomethanes (TTHMs) and haloacetics (HAA5s) acids

  - Methods of determining the presence of DBP

  - Activated carbon to remove TTHMs

  - Regulations regarding TTHMs and HAA5s

- Coagulation

  - Principles of coagulation

  - Factors of coagulation

  - Types of equipment that are used in the coagulation process

  - Coagulation basin with rapid mix pump/flash mixer

  - Types of coagulants and coagulant aids used

  - Methods of delivering coagulants

  - Volumetric pump

  - Solution/metering pump

  - Factors affecting the coagulation

  - Enhanced coagulation

  - Methods of measuring the effectiveness of coagulation addition

- Reduction in turbidity (Jar testing)

- Streaming current monitor

- Reduction in pH

- Flocculation

  - Principles of flocculation

  - Factors affecting flocculation

- Settling (Sedimentation)

  - Introduction

  - Types of basins

  - Basin zones

  - Parts of a sedimentation basin

  - Operation of the sedimentation basin

  - Detention time

  - Calculation for detention time

  - Calculation for surface overflow rate (OR)

  - Monitoring the process

  - Operating problems

  - Maintenance of the sedimentation basin

  - Sludge removal

  - Sludge disposal

  - Summary

- Filtration

  - Introduction

  - Filtration process

  - Types of filtration

  - Gravity

  - Pressure

  - Conventional treatment (open gravity filtration)

  - Direct filtration

  - Biologically active filters

  - Types of gravity filters

  - Shmutzdecke

  - Equipment associated with gravity filters

    - Filter tanks

    - Filter media

    - Media size

    - Underdrain system

    - Sand detectors

    - Wash-water troughs

  - Filter bed agitation

  - Filter control equipment

  - Operation of gravity filters

  - Filter operation methods

  - Filter bed ripening

  - Filter bed media in operation

  - Calculate the filtration rate

  - Monitoring filter operation

  - Filter bed maintenance

  - Bed depth

  - Bed expansion

  - Filter core and solids retention

  - Factors for replacing filter media

  - Filter operating problems

  - Backwashing

    - Introduction

    - Principle behind backwashing

    - Steps in backwashing a filter bed

    - Calculate the backwash flow rate and the percent of total water production used for backwashing

    - Factors that determine backwash frequency

    - Results of ineffective backwashing

  - Pressure filtration

- Controls and gauges found on a typical console

- Clear well

  - Introduction

  - Baffles

  - Isolation and draining clearwell for inspection or repairs

  - Disinfection of clearwell

  - Disinfecting tanks and pipes

- Post-chlorination & ammonia Disinfection

  - Introduction

  - Disease-causing (pathogenic) organisms

  - Post-chlorination

  - Disinfection method

  - Principle of UV in inactivating pathogens

  - Limitation of UV disinfection

  - Chemical treatment

  - Chlorine chemistry

    - Chlorine chemicals and their relative chlorine content

    - Various forms of chlorine used for water disinfection

    - Minimum chlorination residual

    - Factors that affect the success of chlorination

    - Define T10 and how it is determined

    - Define CT value and list the variables needed to determine a required CT value

    - Explain how to calculate chlorine feed rate

    - Control tests

    - Chlorine residual test

    - Online chlorine analyzers to monitor chlorine

  - The frequency of testing disinfectant residual in a water distribution system

    - Addition of ammonia to chlorinated water

    - Introduction

    - Water softening

    - Testing for ammonia

- Regulations

  - The total inactivation/removal for Giardia Lamia cysts and viruses required by the EPA Surface Water Treatment Rule

  - Maximum residual disinfectant level (MRDL) and list the MRDL for chlorine, chloramines and ozone

  - Removal credit given for a well-operated conventional plant and resultant disinfection levels required

  - Bacteriological test

    - Introduction

    - Bacteriological monitoring requirements for surface water suppliers

    - Maximum contaminant level (MCL) for bacteria in surface water

    - Preparation of a bacteriological sampling bottle for testing for chlorination

    - Perform a bacteria analysis

    - An ‘unsafe” bacteriological sample

    - When public notification is required

  - Fluoride

    - Introduction

    - Supporting evidence of the fluoride benefits

    - Fluoridation is practiced

    - Acceptable range, and optimum levels for fluoridation

    - Common fluoride compounds in surface water treatment

    - Operation of the fluoridation process

    - Fluoridation operating problems

- Chemical feeders

  - Introduction

  - Dry feeders

  - Solution feeders

  - Other feeders systems

  - Auxiliary equipment

  - Calculating fluoride feed rate

    - Control tests

    - Online fluoride analyzer to monitor fluoride

    - Frequency of testing fluoride in a water distribution system

  - Corrosion and scaling control of iron and lead

    - Introduction

    - Corrosion control chemistry of iron

    - Scale formation of iron

    - Factors affecting scale formation of iron

    - How did lead get into the water supply?

      - Prior to the distribution system and the customers plumbing

      - At the distribution system and the customers plumbing

      - How does lead leach or mobilize into the water supply? (corrosion chemistry of lead)

      - Health concerns of lead in the water supply

      - Factors affecting corrosion of iron and lead

    - Corrosion and scaling control chemicals

      - Corrosion control chemicals and chemical feed equipment

      - Corrosion and scaling control methods

      - Choice of proper corrosion control treatment methods or chemicals

- Operational control

  - Common operating problems

  - Calculating orthophosphate feed rate

  - Testing methods used to establish corrosive and deposition potential of finished water

  - Online phosphate analyzer to monitor orthophosphate

  - Frequency of testing phosphate in the a water distribution system

  - Calculation for calcium carbonate saturation

  - Monitoring requirement (Lead and copper rule)

- Safety

  - Introduction

  - Definition

  - Sources of potential hazardous areas or situations that exist at a surface water facility

  - Sources of potential hazardous areas or situations that exist in the water laboratory

  - Cause of accidents

  - Corrective actions or proper safety procedures/equipment

  - Protective measures used to store and handle water treatment chemicals

  - List of the corrective actions when working with chemicals

  - Safety policy

    - Definition

    - What is included in the safety policy?

    - Who writes the safety policy and implements them?

    - Responsible parties

    - Example of a safety policy

    - Safety equipment

      - Introduction

      - Fire extinguishers

      - Personal protective equipment

      - Self-contained breathing apparatus

      - Confined space

        - Introduction

        - Fall safety equipment

        - Confined space hoist system/tripod

        - Fall safety harness

      - Monitoring equipment

        - Summary

        - Lockout-tagout devices

          - Introduction

          - Definition of lockout

          - Definition of tagout

          - Definition of energy-isolating device

          - Definition of hazardous energy

          - Is lockout and hazardous energy control the same thing?

          - Examples of lockout-tagout equipment

          - OSHA standard for lockout/tagout

          - Examples of lockout procedures

          - Chemical receiving

            - Receiving laboratory chemicals

            - Receiving bulk chemicals from tankers

            - Material Safety Data Sheet (MSDS) or Safety Data Sheet (SDS

- SDS Heading (includes a description of all 16 sections)

  - Globally Harmonized System of Classification and Labeling of Chemical(GHS)

  - Introduction

  - Definition

  - Purpose

  - Label requirements

  - Label Elements

  - Pictogram and DOT

- Chemical storage

  - Introduction

  - Random storage

  - Alphabetical storage

  - Storage Method

  - Introduction

  - Flinn storage method

  - Storage of chemicals

  - Consideration for storing chemicals

  - Labeling

  - Storage Criteria

  - Refrigeration storage

  - Visual inspection

  - Miscellaneous

  - Disposal

- Five Most Common (Deadly and EPA-Fineable) Errors in Waste Handling

  - Disposal concepts

  - Satellite containers

  - Checklist for proper requirements of waste containers