## Check-List
Check List for Water/Wastewater treatment plant design
Customer Data
Customer ID (Name) |  | Commercial Responsible:
Financial Resources |  | Technical Responsible:
Project ID (Name/number):
Project Data
Total Flux (Q - m³/h) |  | Work Regime (h/day):
Matrix to be Treated |  | If needed, especify:
Source (type) |  | If needed, especify:
Treatment Goals |  | If needed, especify:
W/WW Analisys? |  | Legislation to be answered:
Construction Characteristics
Construction Material: |  | Inspection Level | None
There are a System Configuration Required? |  | Other Equipment Required:
Services
Does it need Transportation? |  | Where?
Does it need Unloading?
Does it need Civil Work Project/Design ? |  | Execution of Civil Works?
Does it need Electrical Project/Design ? |  | Execution of Electrical Works?
Does it need Assembling services ? |  | Start Up and Comissioning?
Work Tests? |  | Assisted Operation?
Parameters
Financial Resources | Treatment Goals | Inspection Level
Public | Potabilization | End Test/Inspection Required
Privately Held | For Bathing | Manufacture Test/Inspection Required
Both | End Discharge | None
Reuse
Work Regime (h/day): | Others
6
8
10 | Construction material
12 | Fiber Glass/Plastic
14 | Steel
16 | Concrete
20 | Others
24 | Doesn't Matter
Matrix to be Treated | Yes
Water | No
Efluent
Source (type)
Superficial - River
Superficial - Water Source
Grownd/Well Water
Sewage
Industrial
Others

## Backgrownd Data
PRELIMINARY DATA FOR WATER/WASTE WATER TREATMENT SYSTEM EVALUATION
DATA | DESCRIPTION |  | HOW TO OBTAIN
FLUX (Q) | Is the amount (volume) of the matrix to be treated per period. May be given in liters / hour or variations thereof (L / s l / h. M3 / h. M3 / day, etc.). This will be used in the design of the treatment system. |  | Can be obtained by directly or estimated from the generation / estimated consumption / treatment need measurement.
WORK REGIME | Is the amount in hours / day and days / week or month that the system operates / operate. Another important factor is the sizing. |  | Depends on customer requirements or patterns of generator / consumption.
TYPE OF MATRIX (To determine the type of treatment) | Efluent (Industrial, Sewage, Mix, etc.) | Water Source: Municipal Suplyer, Grownd/Well Water, Superficial, Rain Water, etc. | Through the source generating the client. In general, all effluent generated by the industry is industrial, and the Sanitary is from toilets, sinks and drains. | looking directly for the Water Source to be Treated.
Treatment Goals | Effluents: treating for disposal or reuse, etc. | Water: potabilization (to Drink), bathing (pools), Industrial use (cooling), etc. | The customer is the greatest interested in knowing what will be the fate of treated Water/effluent. Ask him.
Main Contaminants | Part of the goal of the treatment to understand what contaminants and who wish to be removed in the water / effluent to be treated, as this will determine which techniques to be applied in the form of treatment. (Physical-Chemical and / or Biological) |  | You can get these contaminants through laboratory analysis or evaluation of the client / source generator / source being treated process. Ex .: of galzanização copper industry will probably copper in the effluent. Water wells typically have iron and manganese, but have no contamination by microcystin.
Most important parameters | Effluents: pH, Solids Series, Oil and Greases, Temperature, COD/BOD, Metals, Orgânic Compounds, Toxic Compounds. | Water: pH, Conductivity/Total Dissolved Solids, Hardness, Clorites, Iron, Manganese, Fluorides, Turbity, Color, Bacterial assays, etc.
Laws / Reference Standards | Is the Legislation / Law / Standart that the Tretment MUST meet. |  | Depends on the state, each has its own legislation and levels of expertise. But the customer must indicate the required quality.