## Sheet1
|  | No | SAPLE POINT | Analysis | Days
|  | 1 | Screen | oil & Grease | U T
|  | 2 | Influent | COD | S S M T W T F
|  |  |  | BOD5 | U T T
|  |  |  | TSS | S S M T W T F
|  |  |  | TDS | S S M T W T F
|  |  |  | NH3-N | S S M T W T F
|  |  |  | TP | S S M T W T F
|  |  |  | Covductivity | S S M T W T F
|  |  |  | Ph | S S M T W T F
|  |  |  | Turbidity | S S M T W T F
|  |  |  | oil & Grease | U M
|  |  |  | TN | U T T
|  |  |  | TKN | U T T
|  |  |  | Chloride | U T T
|  |  |  | Al Kalinity | U T T
|  | 3A | Bio Tank (A) | TP | S S M T W T F
|  |  |  | Portho | S S M T W T F
|  | 3B | Bio Tank (B) | TP | S S M T W T F
|  |  |  | Portho | S S M T W T F
|  | 4A | Aeration Tank (A) | No3-N (Anoxic 1) | U T T
|  |  |  | No3-N (Anoxic 2) | U T T
|  | 4B | Aeration Tank (B) | No3-N (Anoxic 1) | U T T
|  |  |  | No3-N (Anoxic 2) | U T T
|  | 5A | Outlet Aeration (A) | NH3-N | S S M T W T F
|  |  |  | MLSS | S S M T W T F
|  |  |  | SVI | S S M T W T F
|  |  |  | Tp | IF NECESSARY
|  |  |  | Portho | IF NECESSARY
|  |  |  | SV | S S M T W T F
|  | 5B | Outlet Aeration (B) | NH3-N | S S M T W T F
|  |  |  | MLSS | S S M T W T F
|  |  |  | SVI | S S M T W T F
|  |  |  | Tp | IF NECESSARY
|  |  |  | Portho | IF NECESSARY
|  |  |  | SV | S S M T W T F
|  | 6A | RAS | MLSS | S S M T W T F
|  |  |  | MLVSS | S M W
|  | 6B | RAS | MLSS | S S M T W T F
|  |  |  | MLVSS | S M W
|  | 7A | Effluent before Filters | COD | S S M T W T F
|  |  |  | BOD5 | U T T
|  |  |  | TSS | S S M T W T F
|  |  |  | NO3-N | S S M T W T F
|  |  |  | NH3-N | S S M T W T F
|  |  |  | TP | S S M T W T F
|  |  |  | TDS | S S M T W T F
|  |  |  | Ph | S S M T W T F
|  |  |  | Turbidity | S S M T W T F
|  |  |  | TKN | S S M T W T F
|  | 7B | Effluent before Filters | COD | S S M T W T F
|  |  |  | BOD6 | U T T
Done By : |  |  |  | TSS | S S M T W T F
| Eng.Mohammed Nassar |  |  | NO3-N | S S M T W T F
| Eng.Tariq Mohammed |  |  | NH3-N | S S M T W T F
|  |  |  | TP | S S M T W T F
|  |  |  | TDS | S S M T W T F
|  |  |  | Ph | S S M T W T F
|  |  |  | Turbidity | S S M T W T F
|  |  |  | TKN | S S M T W T F
|  | 8 | Final Effluent | COD | S S M T W T F
|  |  |  | BOD5 | S S M T W T F
|  |  |  | TSS | S S M T W T F
|  |  |  | TDS | S S M T W T F
|  |  |  | NH3-N | S S M T W T F
|  |  |  | TP | S S M T W T F
|  |  |  | Portho | S S M T W T F
|  |  |  | Covductivity | S S M T W T F
|  |  |  | Ph | S S M T W T F
|  |  |  | Turbidity | S S M T W T F
|  |  |  | TN | S S M T W T F
|  |  |  | TKN | S S M T W T F
|  |  |  | Chloride | S S M T W T F
|  |  |  | Al Kalinity | S S M T W T F
|  |  |  | E-Coli (MPN) | S S M T W T F
|  |  |  | Total Coliform(MPN) | S S M T W T F
|  | 9 | Sludge Before BFP | Tp | U W
|  |  |  | Portho | U W
|  |  |  | MLSS | U W
|  | 10 | Sludge Cake | DS% | S S M T W T F