From factory compressed oils and fats

Biotechnology treatment

Discharge point value

Q 	= 119 m3/day

COD 	=  75 mg/l

BOD5	=  50 mg/l

Total N	= 20 mg/l

Total P 	= 4 mg/l

TSS 	= 50 mg/l

Oils & grease = 50 mg/l

Industrial  wastewater 2

Q 	= 19m3/day

COD 	=  16.000mg/l

BOD5	=  8.000 mg/l

Total N	= 0 mg/l

Total P 	= 0 mg/l

Primary treatment

Industrial wastewater 2

Q 	= 19m3/day

COD 	=  300,000 mg/l

BOD5	=  300.000 mg/l

Total N	= 0 mg/l

Total P 	= 0 mg/l

Industrial wastewater 1

Q 	= 80 m3/day

COD 	=  16,000 mg/l

BOD5	=  8,000 mg/l

Total N	= 20 mg/l

Total P 	= 12 mg/l

TSS 	= 6000 mg/l

Oils & grease = 6000 mg/l

Domestic wastewater

Q 	= 20 m3/day

COD 	=  600 mg/l

BOD5	= 300 mg/l

Total N	= 85 mg/l

Total P 	= 15 mg/l

SS 	= 350 mg/l